Quality Assurance Project Plan (QAPP)

QAPP Level # 3 or 4

Project Name

Project Number

Prepared by:

Affiliation Name

Address

Prepared for:

Missouri Department of Natural Resources

Water Protection Program

Section 319 Nonpoint Source Program

[Note: data generated from the environmental data collection effort will be used for interim studies to compare pre and post conditions resulting from best management practice implementation or to gain general baseline water quality conditions for watershed planning efforts (level 3), or will be educational purposes only or follow existing VWQM or Soil Sampling Protocols (level 4)]

## Approval Sheet (All Levels)

| Prepared by: |  | Date: |  |
| --- | --- | --- | --- |
|  | QAPP Preparer/Subgrantee Project Manager Name |  |  |
|  | Affiliation |  |  |
| Reviewed by: |  | Date: |  |
|  | Preparer Organization QA/QC Officer (if there is one) |  |  |
|  | Affiliation |  |  |
| Reviewed by: |  | Date: |  |
|  | Analytical Laboratory Supervisor Name (if there is one) |  |  |
|  | Affiliation |  |  |
| Reviewed by: |  | Date: |  |
|  | Subgrantee Signature Authority Name |  |  |
|  | Sponsoring Agency Name |  |  |
| Reviewed by: |  | Date: |  |
|  | Project Manager Name |  |  |
|  | MoDNR, Section 319 Nonpoint Source Project Manager |  |  |
| Reviewed by: |  | Date: |  |
|  | Robert Voss |  |  |
|  | MoDNR, WPP-WPS Quality Assurance Coordinator |  |  |

| Approved by: |  | Date: |  |
| --- | --- | --- | --- |
|  | Karla Wiseman |  |  |
|  | MoDNR, DEQ-ESP Project Quality Assurance Manager |  |  |

How to use this template:

The template is set up in a format to guide the user. Headings and subheading are provided. Each element relates to the U.S. EPA’s required elements of a QAPP. The grey text is for informational use only and should be deleted as each chapter and section is completed. For those elements that do not apply to the level of QAPP you’re developing then just state that fact.

NOTE when developing a QAPP: If not specified within this QAPP, then standard operating procedures shall be developed to describe the procedures that will be followed.  Any deviations from established procedures should be clearly stated within this QAPP and explained. Procedures should clearly describe: how the samples will be collected, how the sample collection procedure will be documented (e.g. chain-of-custody, sample labels, field notes), how the samples will be preserved, handled, and transported from the field to the laboratory, how the samples will be held or stored until analysis, how equipment/instruments will used, calibrated, along with quality control procedures that will be followed for instruments and analysis, and finally, if equipment is reused, how will it be cleaned and how will you determine and document cleanliness?

To update the table of contents page: scroll into the table of contents field and right mouse click (the table of contents field will be highlighted in grey). From the pop up box choose update field. Another pop-up box will display, choose update entire table, and then press OK to update the table of contents.

## Table of Contents (All Levels)

1.1	Approval Sheet (All Levels)	2

1.2	Table of Contents (All Levels)	4

1.3	Distribution List (All Levels)	6

1.4	Project/Task Organization (All Levels)	7

1.5	Problem Definition/Background (All Levels)	7

1.6	Project/Task Description (All Levels)	8

1.7	Data Quality Objectives and Criteria for Measurement Data (All Levels)	8

1.8	Special Training Requirements/Certification (Level 1)	11

1.9	Documentation and Record (All Levels)	12

2.0	Measurement/Data Acquisition	13

2.1	Sampling Process Designs (Experimental Design) (All Levels)	13

2.2	Sampling Methods Requirements (field sampling) (All Levels)	14

2.3	Sample Handling and Custody Requirements (All Levels)	17

2.4	Analytical Methods Requirements (All Levels)	17

2.5	Quality Control Requirements (All Levels)	18

2.6	Instrument/Equipment Testing Inspection and Maintenance Requirements (Level 1 & 2)	20

2.7	Instrument Calibration and Frequency (All Levels)	20

2.8	Inspection/Acceptance Requirements for Supplies and Consumables (Level 1)	21

2.9	Data Acquisition Requirements (non-direct Measurements) (All Levels)	21

2.10	Data Management (Level 1 &2)	21

3.0	Assessment/Oversight	22

3.1	Assessments and Response Action (All Levels)	22

3.2	Reports to Management (All Levels)	23

4.0	Data Validation and Usability	23

4.1	Data Review, Validation, and Verification Requirements (All Levels)	23

4.2	Validation and Verification Methods (Level 1 & 2)	23

4.3	Reconciliation with Data Quality Objectives (All Levels)	24

List of References (if applicable)	25

List of Tables

Table 1.  QAPP Distribution List	6

Table 2.  Environmental Monitoring Schedule	8

Table 3.  Data Quality Indicators (DQI’s)	9

Table 4.  Data Quality Objectives	11

Table 5.  Summary of Sampling Procedures	15

Table 6.  Summary of Analytical Procedures	18

Table 7.  Summary of Quality Control Procedures	19

List of Appendices

Appendix 1  Site maps, and Site photos	25

Appendix 2  Chain of Custody Form or other documentation forms	26

Appendix 3  Standard Operating Procedures	27

## Distribution List (All Levels)

This element contains individuals and their organizations that need copies of the approved QAPP and any subsequent revisions. Key personnel to consider: project manager, laboratory manager, field team leader, data processor or statistician, modeler, QA officer, data reviewers, and essential contract and subcontract personnel.

Table 1.  QAPP Distribution List

| Name | Organization | Address | e-mail |
| --- | --- | --- | --- |
| Name, Sponsoring Agency Name, Project Manager |  |  |  |
| Name, QA Officer |  |  |  |
| Name, Sponsoring agency Position Title (signature authority) |  |  |  |
| Name, MoDNR NPS Project Manager |  |  |  |
| Robert Voss, MoDNR WPP-WPS QA Coordinator | Missouri Department of Natural Resources | 1101 Riverside Drive, Jefferson City, MO 65101 | robert.voss@dnr.mo.gov |

## Project/Task Organization (All Levels)

This element allows you to rapidly identify the roles and responsibilities of those individuals involved in the project and their organization. It quickly identifies lines of authority and reporting between the individuals and organizations.

Those individuals involved with the major aspects or phases of the project are listed here, their project roles and responsibilities are discussed, indicating, for example, who has the authority to make changes and who is responsible for maintaining and updating the QAPP.

NOTE: The QA Officer should be independent of those that are generating project information to encourage a more objective perspective of all aspects of the project.

Including a project organizational chart in this element is extremely helpful, because it illustrates the group hierarchy.

Flow chart information may include but not limited to the following: sponsoring agency, project manager, field personnel, contract lab who will conduct chemical analysis and/or field work, chemical analysis lab supervisor, chemist, quality assurance officer, MoDNR project manager. The flow chart shows the relationships and lines of communication among project personnel.

## Problem Definition/Background (All Levels)

This section should provide an overview of the project efforts and the reason for the environmental monitoring component. It should also state this QAPP is developed to support the Section 319 project efforts and will not be used to assess environmental data against the State’s environmental laws and regulations. Providing a statement of specific problem(s) to be solved, decision(s) to be made, or outcome(s) to be achieved; and background information.

This element gives the reader an overview of the problem to be solved. It explains in detail why the project is being done by describing the problem and what you want to accomplish (e.g. your goals and objectives).

The first step will be to summarize the known information, then indicate what information is not known, but is needed to solve the problem. Next, identify the intended use of the information and those who need this information.

Note: Problems that are more complex will lead to more extensive information in this section. The reader should be able to understand the importance or context of the project.

## Project/Task Description (All Levels)

This element is a management overview or summary of the work to be detailed in the remaining sections of the QAPP. It describes the approach taken to address the project’s objectives, connecting what is needed to how it will be obtained. Provides a summary of work to be performed and products generated; project schedule, maps, tables, etc. showing geographic locations.

In this element, summarize the specific work that will be done then reference Table 2 for a summary of the project schedule. In addition, summarize what information will be collected during the project and/or data that were collected during previous studies. For example, briefly indicate the contaminants of concern (e.g. nutrients, bacteria) or chemical compounds expected to be found at the site (e.g. nutrients, bacteria), indicate number of sampling locations, and reference contaminant concentrations found during previous investigations. Summarize the measurement processes and techniques that will be used to collect information (e.g. surface water grab samples will be collected directly into the sample container for chemical analysis; field measurements will be collected using handheld pH, conductivity, and dissolved oxygen instruments).

Table 2.  Environmental Monitoring Schedule

| Activity | Anticipated Date of Initiation | Anticipated Date of Completion |
| --- | --- | --- |
| Enter activity or Milestone directly related to project | Enter specific date or Month and Year | Enter specific date or Month and Year |
| Collect monthly background samples – grab (48) | 04-01-08 | 04-01-11 |
| Collect bi-weekly low flow grab samples (144) | 04-01-08 | 04-01-11 |
| Monthly stormwater samples – composite (24) | 04-01-08 | 04-01-11 |
| Soil samples – composite (20) | 04-01-08 | 09-19-08 |
| Write conservation nutrient management plans (50) | 04-01-08 | 09-19-09 |

## Data Quality Objectives and Criteria for Measurement Data (All Levels)

This element can be written in a tabular form. The element describes quality specifications at two levels: (1) at the level of the decision or study question (Table 3), and (2) at the level of the measurement used to support the decision or study question (Table 4). In these tables you will supply the methodology used in the project to address data quality indicator (DQI).

Decision(s), population parameter(s) of interest, action level(s), summary statistics and acceptable limits on decision errors.

Brief introductions to the tables below are necessary. Wording such as, “This section references the project data quality indicators (DQI) and is provided in Table 3 below.”

Table 3.  Data Quality Indicators (DQI’s)

| DQI | Definition | Determination Methodologies |
| --- | --- | --- |
| Precision | The measurement among repeated measurements of the same property under identical or substantially similar conditions; calculated as either the range or as the standard deviation. May also be expressed as a percentage of the mean of the measurements, such as relative range or relative standard deviation (coefficient of variation). | LIST OF EXAMPLES: - Use the same analytical instruments to make repeated analyses on the same sample. - Use the same method to make repeated measurements of the same sample within a single laboratory or have two or more laboratories analyze identical samples with the same method. - Split a sample in the field and submit both for sample handling, preservation and storage, and analytical measurements. - Collect, process, and analyze collected samples for information on sample acquisition, handling, shipping, storage, preparation, and analytical process and measurements. |
| Bias | The systematic or persistent distortion of a measurement process that causes errors in one direction. | Use reference materials or analyze spiked matrix samples (where a known concentration is added to a sample and analyzed). |
| Accuracy | A measurement of the overall agreement of a measurement to a known value; includes a combination of random error (bias) components of both sampling and analytical operations. | Analyze a reference material or reanalyze a sample to which a material of known concentration or amount of pollutant has been added; usually expressed either as percent recovery or as a percent bias. |
| Representativeness | A qualitative term that expresses “the degree to which data accurately and precisely represent a characteristic of a population, parameter variations at a sampling point, a process condition, or an environmental condition”. | Evaluate whether measurements are made and physical samples collected in such a manner that the resulting data appropriately reflect the environment or condition being measured or studied. |
| Comparability | A qualitative term that expresses the measure of confidence that one data set can be compared to another and can be combined for the decision(s) to be made. | Compare sample collection and handling methods, such as sample preparation and analytical procedures, holding times, stability issues, and quality assurance protocols. |
| Completeness | A measure of the amount of valid data needed to be obtained from a measurement system. | Compare the number of valid measurements completed (samples collected or samples analyzed) with these established by the project’s quality criteria (Data Quality Objectives or performance/acceptance criteria). |
| Sensitivity | The capability of a method or instrument to discriminate between measurement responses representing different levels of the variable of interest. | Determine the minimum concentration or attribute that can be measured by a method (method detection limit), by an instrument (instrument detection limit), or by a laboratory (quantitation limit). |

Table 4.  Data Quality Objectives

| Parameter | Detection Limit | Precision | Accuracy | Completeness |
| --- | --- | --- | --- | --- |
| Enter all applicable chemical and/or biological parameters to be measured | Generally the lowest possible detection limit of the equipment used. | Indicate the level of precision you need and expect to achieve for each parameter to meet your study design. Expressed as a percentage of the mean of the measurements, such as relative range or relative standard deviation (coefficient of variation). | Indicate the level of accuracy you need and expect to achieve for each parameter to meet your study goals. Generally the accuracy stated for the equipment. | Indicate the minimum amount of valid data needed for each parameter in order to meet your study goals. Generally, based on the total amount of samples to be collected. |
| e.g. Total Nitrogen | 0.05 mg/L | ± 0.01 mg/L | ± 0.01 mg/L | 100% |
| Total Phosphorus | 0.05 mg/L | ± 0.01 mg/L | ± 0.01 mg/L | 100% |
| pH | 0.2 pH units | ± 0.02 pH units | ± 0.02 pH units | 100% |
| Dissolved Oxygen | 0.05 mg/L | ±0.5 mg/L | ±0.5 mg/L | 100% |
| Temperature | 0.1 ◦C | ± 0.2◦C | ± 0.2◦C | 100% |

## Special Training Requirements/Certification (Level 1)

This element identifies any special or non-routine training or certifications that are necessary for project personnel or the laboratory to successfully complete the project.

Special training or certifications are sometimes necessary for project personnel and laboratories associated with the project.

In this element, identify the needed training/certification information. Specify what type of training will be provided, how this information will be documented, and where the training records will be kept. Indicate who is responsible for ensuring that they are met, and that the qualified personnel are available to perform the work as assigned.

Field and laboratory staff participating in the projects efforts: provide - name, affiliation/function/department, years of experience, and educational background. Curriculum Vitae can also be attached providing a list of training/certifications received. This information can be attached in a table format as an appendix.

| Name | Affiliation/Function/ Department | Years of Experience | Education |
| --- | --- | --- | --- |
| John Doe | SWCD Technician/ Project Manager | 30 | B.S. Agriculture |
| Jane Doe | AME Laboratory/ Analyst | 18 | B.S Chemistry |
| Joe Doe | AME Contractor/Sampling Technician | 6 | B.S. Ecology |

## Documentation and Record (All Levels)

This element includes information concerning the management of project’s documents and records, including this QAPP and associated standard operating procedures.  Management of project data is covered later in element 2.10, Data Management.

For example this element may include, but not is limited to, the following information:

- Description of how the most current approved quality assurance project plan will be distributed to project staff,

- List of records to be included in the data report packages for MoDNR and/or entities for review,

- List of any other project documents to be produced (e.g. standard operating procedures, field notes, etc).

- Information on the final disposition of records and documents, including storage, location, and retention schedule (Section 319 grant requires records to be maintained at minimum of 5 years following the projects official closeout)

In this element: Describe the process and responsibilities for making sure that project personnel will receive the most recently approved QAPP, standard operating procedures, and other documents used throughout the project. Also explain how these documents will be updated and this information communicated to personnel and other reporting entities.  (Refer to the U.S. EPA Guidance for preparing Standard Operating Procedures at https://www.epa.gov/sites/production/files/2015-06/documents/g6-final.pdf).

- Measurement/Data Acquisition

## Sampling Process Designs (Experimental Design) (All Levels)

This element describes the project’s data collection or experimental design. Keys to this element are to explain and/or answer the project assumptions and how the monitoring data will be obtained. This element explains the “how and why” of the monitoring design to ensure that the appropriate data are collected for this project.

A representative sample is a portion of a target population (body of water, area of soil, population) that is defined by the size of the area, shape, volume, or time that is collected. This is part of the justification for how and why the sampling site and sampling durations will be selected. A schedule for sampling and analytical activities, test runs, and reviews will be explained in this element.

To help determine the type of sampling design for your project you should address the following questions below. In addition, this will also provide you with the necessary information to determine or refine the allocation of resources for obtaining samples.  Advice on selecting the appropriate design may be found in Chapter 2 of the U.S. EPA, Guidance for Choosing a Sampling Design for Environmental Data Collection (QA/G-5s) (https://www.epa.gov/sites/production/files/2015-06/documents/g5s-final.pdf).

- Is there a reference or background population that can be used as a comparison to the target population?

- Will sampling sites be chosen ahead of time or in the field based on visual or other evidence; and, what are the criteria for site selection?  Indicate what you would do if any sampling locations become inaccessible.

- Will you use a network of sampling sites that will be visited periodically or will sampling be performed continuously, by event occurrence or seasonally?

- Do all the samples need to be taken simultaneously?

- Is the target population approximately homogeneous (the same) or is it heterogeneous (different) in nature needing stratification or division into approximately homogeneous areas?

- Can samples be composited or should they be kept separate?

Also in this element you will need to explain in detail the sampling plan or methodology and should include the following information:

- Number of samples

- How many sampling locations

- Number of samples (composite/grab) at each location

- Support for the sample (the area or part of the target population that a single sample is supposed to represent),

- Number of QC samples (field replicates, duplicates, etc.) and frequency of collection (e.g. every 10th sample or 10% of the total number of samples collected)

- Your plan for obtaining replacement samples essential to the integrity of the project and to meet your study goals.

You should also briefly describe how samples will be collected, treated, and handled before shipping or delivery to the laboratory for analysis. This will be described in more detail in later elements. Include information identifying the role of any potential sources of variability which would affect the sampling period, such as seasonal differences and rainfall events.

## Sampling Methods Requirements (field sampling) (All Levels)

This element details how samples or information will be collected consistently between locations and by all sampling teams, with no contamination being introduced during collection.

Description of sample/data collection procedures, list of equipment needed, identification of performance requirements, description of corrective actions to be taken if problems arise.

If specific procedures are not specified within this QAPP, then standard operating procedures shall be developed to describe the procedures that will be followed. Any deviations from established procedures should be clearly stated and explained. Procedures should clearly describe: how the samples will be collected; how the sample collection procedure will be documented (e.g. chain-of-custody, sample labels, field notes); how the samples will be preserved, handled, and transported from the field to the laboratory; how the samples will be held or stored until analysis; how equipment/instruments will used and calibrated, along with quality control procedures that will be followed for instruments and analysis; and finally, if equipment is reused, how will it be cleaned and how will you determine and document cleanliness?

This element should explain the following and reference the summary table below (table 5):  For each type of sample (soil, water, etc.), describe what constitutes a sample, that is, how much sample is needed (e.g. sample volume), what types of sample container(s) will be used, how samples will be collected, and whether any sample is to be split in the field, composited, or sub-samples taken. If any of these samples will homogenized (separate samples mixed together to make one sample), composited, or split, also indicate how this will be accomplished. Reference or attach any standard operation procedures or thoroughly explain the methods in this QAPP.

For continuous monitoring, indicate the how the data will be collected by the instrument. Explain if the instrument(s) will collect instantaneous measurements or average data points over a predetermined time, and whether the instrument(s) will store and maintain all the raw data or only the data averages over that time. In addition, indicate how the data will be averaged, stored, downloaded, reported, etc.

Also explain and/or identify any potential limitations and specific performance criteria. If nonstandard methods or unusual equipment are to be used, indicate the rationale for their use and describe validation studies to confirm the performance of the method for that particular matrix and justify their use. Also state the precision, accuracy, and detection limits that will be adequate for the intended use of the data.

List what sampling equipment is needed and appropriate for the project and what support facilities are to be used (e.g. flat bottom boat, plastic or stainless steel bucket, Ponar dredge, submersible pump, etc.).

Indicate your backup plan for when things go wrong. This may be a generic statement about obtaining backup supplies or equipment. Indicate how this information will be communicated to management, identify who is responsible for corrective action, and describe how corrective action will be documented.

Indicate whether monitoring equipment and samplers, will be cleaned and/or decontaminated. Detail how this will be done to ensure that there is no carryover from one sampling location to the next. Remember to include information on how decontamination by-products will be disposed, in accordance with local, state and federal regulations.

This element should also include the information that will be written in a field notebook (e.g. sample date and time, sample collector, weather conditions, description of sample location, sample characteristics, sample number, field measurements and instrument field calibration data), sample tag/label information (e.g. sample number, sampling date and time [24 hrs.], sample type [water, soil], chemical preservative used, sample collector initials). This information should match the information written on the Chain-of-Custody form (e.g. sample number, sampling data and time [24 hrs.], sample type, preservation, sample collector and affiliation, sample collection location, analytical parameters, field measurements and units).

Table 5.  Summary of Sampling Procedures

| Parameter | Sample Matrix | Sampling Frequency | Sampling Method | Sample Container | Sample Volume & Preservation Method | Sample Holding Time |
| --- | --- | --- | --- | --- | --- | --- |
| Enter all applicable chemical and/or biological parameters to be measured | Indicate the type of matrix to be sampled or tested for each parameter (e.g. soil, water, air) | Indicate how often the samples will be collected or field measurements will be taken for each parameter | Describe and/or cite sampling methods to be used for each parameter and/or sampling equipment or instrument make and model to be used | Describe the sample containers to be used for each parameter or “NA” or in-situ for those to be measured on-site with field instruments | Indicate the volume of sample needed for analysis of each parameter or “NA” or in-situ for those measured on-site with field instruments | Indicate the maximum holding time for each parameter or “NA” or in-situ for those to be measured on-site with field instruments. |
| E. coli | Water | Bi-weekly | IDEXX – Colilert 97 Well Quanti tray method | P – Sterile 120 mL bottle | 150 ml | 6-hours |
| Total Phosphorus | Water | Bi-weekly | Hach method # XXXX | Determined on-site | Determined on-site | Determined on-site |
| Total Nitrogen as N | Water | Bi-weekly | Hach method # XXXX | Determined on-site | Determined on-site | Determined on-site |
| pH | Water | Bi-weekly | Hach pocket pen, model # XXX | Determined on-site | In-situ | In-situ |
| Dissolved Oxygen | Water | Bi-weekly | YSI Meter, Model # | Determined on-site | In-situ | In-situ |
| Temperature | Water | Bi-weekly | Alcohol filled NIST traceable | Determined on-site | In-situ | In-situ |

P=plastic, G=glass

## Sample Handling and Custody Requirements (All Levels)

This element describes your efforts to have each sample retain its original physical form and chemical composition from collection to final disposal.

In this element, describe the steps taken to ensure the samples keep their original condition during sample collection, transportation, and storage. The steps may include the use of chemical preservatives (such as the addition of acid to the sample container) and/or keeping the sample cool (e.g. stored on ice or refrigerated) during transport, using the appropriate packing material, and noting whether the sample will be kept refrigerated or frozen for long-term storage. If standard operating procedures have been developed, reference the procedure and attach as appendix of the QAPP. If a written procedure has not been established, then clearly explain the procedure here.

In this element you need to provide the maximum holding times of each sample which should also be noted in Table 5 above. Holding times will vary with the analyte/matrix and are designed to ensure stability of the analyte/sample. Refer to the U.S. EPA’s Methods for Chemical Analysis of Water and Waste (EPA/600/4-79/020 [https://nepis.epa.gov/Exe/ZyNET.exe/30000Q10.txt?ZyActionD=ZyDocument&Client=EPA&Index=1976%20Thru%201980&Docs=&Query=&Time=&EndTime=&SearchMethod=1&TocRestrict=n&Toc=&TocEntry=&QField=&QFieldYear=&QFieldMonth=&QFieldDay=&UseQField=&IntQFieldOp=0&ExtQFieldOp=0&XmlQuery=&File=D%3A%5CZYFILES%5CINDEX%20DATA%5C76THRU80%5CTXT%5C00000001%5C30000Q10.txt&User=ANONYMOUS&Password=anonymous&SortMethod=h%7C-&MaximumDocuments=1&FuzzyDegree=0&ImageQuality=r75g8/r75g8/x150y150g16/i425&Display=hpfr&DefSeekPage=x&SearchBack=ZyActionL&Back=ZyActionS&BackDesc=Results%20page&MaximumPages=1&ZyEntry=1]) for additional information.

List who will maintain the field notebooks and who is responsible for sample custody in the field, and receipt of sample, custody, and ultimate disposal in the laboratory. For example, does the laboratory have a sample receipt department, or will the sample be given directly to the analyst? Will the analyst use the entire sample during analysis or will a portion be held for future reference?

The Chain-of-Custody document can be considered as part of a quality control procedure and often a legal document that enables tracing the possession and handling of a sample during transfer so that its physical possession is known at all points of the project. Custody documents may include a field sheet, sample tags/labels, and/or documentation that is signed by each person who handles the samples. The custody procedure should be described fully within the QAPP or reference a standard operating procedure attached as an appendix to the QAPP.

## Analytical Methods Requirements (All Levels)

This element identifies the procedures to analyze samples, and the level and quality of the procedure needed to support any decisions to be made with the data.

Cite the analytical standard operating procedures (if available) and include them as appendices to the QAPP. You may also reference Table 6 for a summary of the analytical procedures to be followed. If standard operating procedures have not been developed for the analysis, clearly explain the procedures in this QAPP. If a U.S. EPA standard method is to be followed, then cite the method number and date the method was approved. In this element you should describe and justify any deviations or modifications to any established procedure or method. If the laboratory is using a nonstandard or unapproved method, provide method validation data to justify its use and confirm that it will be adequate for the intended use of the data.

Also include any specific method performance specifications. If no method currently exists for the analysis needed, method performance criteria to analyze the parameter should be discussed here.

Identify the steps to be followed when problems arise.

Table 6.  Summary of Analytical Procedures

| Parameter | Analytical Method | Performance Range or Detection Limit | Reporting Units |
| --- | --- | --- | --- |
| Enter all applicable chemical and/or biological parameters to be measured | Describe or cite the method and/or equipment used to analyze samples and/or measure each parameter. If using electronic field instruments, include the make and model of each instrument | Indicate the range of measurements over which you can expect to achieve accurate results for each method to be used, or “N/A” if performance range is not quantifiable | Enter units of measurement for each parameter |
| E. coli | IDEXX – Colilert 97 Well Quanti tray method | <1 - >2419. | Colonies/100 mL |
| Total Phosphorus | EPA Method # XXX.XX | 0.05 – 3.00 | mg/L |
| Total Nitrogen as Nitrogen | EPA Method # XXX.XX | 0.05 – 3.00 | mg/L |

## Quality Control Requirements (All Levels)

There is potential variability in any sample collection, analysis, or measurement activity, with field variability generally contributing more than laboratory variability.

Quality control activities are those technical activities routinely performed through a monitoring event both in the field and in the laboratory setting. The actual quality control data needs are based on the decisions to be made and the data quality specifications previously stated for the project. Here you should list all the checks you are going to follow to assess/demonstrate the reliability and confidence in the data collected. This element should also state who is responsible for conducting these activities. Any established field and laboratory procedures should be attach to appendix of the QAPP.  The quality control information can also be summarized in Table 7 below.

All field sampling shall plan for quality control samples to be collected at a minimum frequency of 10% of the total or every 10th sample.

If samples are collected for bacterial analysis (e.g. E. coli), a positive control and negative control shall be run at minimum once per day when samples are analyzed.

Table 7.  Summary of Quality Control Procedures

| Quality Control Procedure | Field Procedure (Yes/No) | Laboratory Procedure (Yes/No) | Frequency |
| --- | --- | --- | --- |
| Describe all the measures to be taken in the field and/or laboratory to ensure that the data quality objectives are met |  |  | Indicate when and/or how often during the study each procedure will be performed |
| Duplicates | Y | Y | Field and Lab - Every 10th sample |
| Replicates | Y | Y | Field and Lab - Every 10th sample |
| Spiked Matrix | N | Y | Every sample batch |
| Equipment Blank | Y | N | One container from every batch pre-cleaned |
| Field Blank | Y | N | Every 10th sample |

## Instrument/Equipment Testing Inspection and Maintenance Requirements (Level 1 & 2)

This element describes how project personnel will know that the equipment will work properly in the field or laboratory setting.

In this element, list any equipment or systems that will be used during the project that should be inspected or tested before use, or what maintenance is conducted on a routine basis. Describe what will be done to test, inspect, and maintain the project’s instruments and equipment, and identify where critical spare parts will be located. Indicate also, how often this will be done and who is responsible for doing it. If a standard operating procedure has been developed then reference the procedure here and attach the standard as appendix of the QAPP. If a written procedure is not available then clearly describe the procedure here.

Also include a description of how re-inspections will be performed and effectiveness of corrective actions; and identification of those responsible.

## Instrument Calibration and Frequency (All Levels)

This element identifies how you will ensure continual quality performance of any equipment and instruments used in the project.

List of all project tools, gauges, instruments, and other sampling, measuring, and test equipment which shall be calibrated; description of calibration method and identification of any certified equipment and/or standards to be used; details of how the calibration record will be maintained and traceable to the instrument/equipment; identification of those responsible.

In this element, list any equipment and instruments needing calibration either in the field, in the fixed laboratory, or in the office. Also include how often calibration will need to be done and any instances where calibration should be done beyond routine and scheduled calibration. Identify any applicable criteria and measurement and testing equipment that will be used. In addition, you should list who is responsible for calibrating instruments and equipment.

Specific test methods should be discussed; and reference and attach the standard operating procedure in appendix.

Calibration information for each equipment and instrument type can also be summarized in a table and referenced from text.

At minimum, equipment shall be calibrated once per day prior to sample collection or as per the manufacturer’s requirements if the instrument is to be factory calibrated.

## Inspection/Acceptance Requirements for Supplies and Consumables (Level 1)

Not all projects will need supplies or consumables considered as “critical” to the project.  This element documents your system for having the right critical field and laboratory supplies and consumables available throughout project.

Here you should identify what project supplies are critical, and who is responsible to make sure they are available. Where applicable, document the information so that these supplies can be located and similar items purchased when the listed items are exhausted.

## Data Acquisition Requirements (non-direct Measurements) (All Levels)

This element addresses data obtained from existing data sources, not directly measured or generated in this project. In addition to listing the information to be obtained, discuss your intended use of that information.

Identification of any existing data that will be obtained from non-measurement sources, such as literature files and historical databases; description of how you intend to use the data; your acceptance criteria and any limitations for using such data.

Data to be identified may be qualitative or quantitative in nature and consisting of existing sampling or analytical data, photographs or maps, published literature, background information obtained from facility or state files, or meteorological data.

If you have not decided upon the sources of data you will use, document the process that you will use to identify these sources and specify data types; explain how you will acquire the data. Then describe how the data will be used either exclusively or in combination with newly collected data.

## Data Management (Level 1 &2)

This element gives an overview of the management of the data generated throughout the project.

Description of the project data management process; description of or reference to the office’s standard record-keeping procedures and document control, data storage, retrieval, and security systems; identification of data handling equipment and procedures to process, compile, and analyze project data; discussion of data handling procedures to detect and correct errors and loss during data processing; examples of forms and checklists to be used, identification of any specific computer hardware/software performance requirements and how configuration acceptability will be determined; description of how applicable information resource management requirement(s) will be satisfied.

In this element, identify the process, hardware equipment, and software you will use for data/information handling and storage throughout the life of the project.

For example this element may include but not limited to the following information:

- Description of the project data management process;

- Description of or reference to the office’s standard record-keeping procedures and document control, data storage and retrieval, and security systems;

- Identification of data handling equipment and procedures to process, compile, and analyze project data;

- Discussion of data handling procedures to detect and correct errors and loss during data processing;

- Examples of forms and checklists to be used, identification of any specific computer hardware/software performance requirements and how configuration acceptability will be determined;

- Description of how applicable information resource management requirement(s) will be satisfied.

- Assessment/Oversight

## Assessments and Response Action (All Levels)

This element gives information concerning how a project’s activities will be assessed during the project to ensure that the QAPP is being implemented as approved.

Description of project assessments planned and a brief discussion of the information expected; approximate schedule for these assessments and their reports; for any planned self-assessments, identification of potential participants and their relationship within the project organization; for independent assessments, identification of the organization and person(s) that will conduct assessments; identification of how, when, and to whom the results of each assessment will be reported.

A wide variety of internal and external assessments can be conducted during a project to ensure that QAPP is being followed (e.g. field and laboratory audits, proficiency testing, data management activities). The types of assessments to be conducted, and the frequency for conducting these assessments, will depend on the intended use of the data, and the confidence level and expectation of the quality of the data generated.

Assessments are best done throughout the project to identify potential problems early in the project to allow for timely corrective action. Assessments should be considered as a routine part of the project, rather than being conducted “as needed”. In this element discuss the type of assessment, the frequency of assessment, who will be conducting the assessment, and their authority to report and/or stop work activities.

## Reports to Management (All Levels)

This element documents how management (sponsoring agency authority and MoDNR 319 project manager) will be kept informed of the project progress, assessment activities, and findings.

Frequency and distribution of reports to inform management (sponsoring agency, MoDNR, EPA or otherwise) of the project status; identification of report preparer and recipients, as well as any specific actions or recommendations recipients are expected to make.

In this element, identify what project status reports will be written during the project.  These might include: quarterly or final assessment reports to MoDNR 319 project manager, results of proficiency testing, calibration reports, and model evaluation reports to sponsoring agency authority and/or MoDNR 319 project manager. Indicate who will be responsible for writing these reports, when and how often these reports will be written, and identify who will be notified of audit findings (e.g. semi-annual summary report).

- Data Validation and Usability

## Data Review, Validation, and Verification Requirements (All Levels)

This element lists your criteria for deciding to accept, reject, or qualify project data and information to be obtained. In this element, list the final critical checks that will be done on the information obtained during the project. These final checks will determine whether they satisfy the data/information criteria chosen for this project and whether that information can be used.

For example, you will determine: how much data is needed to make accurate assessments, what are the limits of the data, and decide what will be done with data outliers.

Data review portion is the examination of the project’s procedures to ensure the data/information have been recorded, transmitted, and processed correctly. Data review includes checking data entry, transcription, calculation, reduction, and transformation errors.

## Validation and Verification Methods (Level 1 & 2)

This element identifies the processes for verifying then validating project information.  Data verification is the process for evaluating the completeness, correctness, and conformance/compliance of a specific data set against the method, procedural, or contractual specifications to determine the quality of a specific data set relative to the end use.

Description of how project data will be verified and validated; discussion of how any issues will be resolved and identification of who has the authority for resolving them; description of how results will be conveyed to data users; explanation of how validation issues differ from verification issues for this project; examples of any forms or checklists to be used and identification of any project specific calculations.

Much information previously listed in the other elements will be discussed here for the series of final checks on the data that will be conducted. The data may be reviewed to verify how it was:

- Recorded or formatted

- Transformed or reduced

- Transferred from software

- Analyzed

- Qualified

In this element, who will be responsible for the quality control and the final reporting of the data? Explain the process of how errors will be handled and how this information will be given to the data users.

## Reconciliation with Data Quality Objectives (All Levels)

This element describes how you will evaluate the validated data to see if it answers the project’s data quality objectives. This is the final assessment of the data quality and the culmination of the entire quality assurance process for the project.

Description of how project result(s) will be reconciled with the requirements defined by the data user or decision maker; an outline of methods proposed to analyze the data and determine possible anomalies or departures from assumptions made when the project was planned; description of how reconciliation with user requirements will be documented, issues will be resolved, and how limitations on the use of data will be reported to decision makers.

If statistical methods are to be used you will need to explain what statistical analysis method will be used, including formulas used to determine trends, anomalies, and/or relationships. If using raw data with no statistical analysis, then it needs to be explained how the data is to be used to make decisions.

Describe in this element what statistical analyses or error estimates will be made based on the total error. This may involve some statistical analyses such as tests for outliers, trends, dispersion, etc., or a scientific evaluation of the information. Describe how data will be presented (e.g. tables, charts) to illustrate trends, relationships, and anomalies.

Discuss how limitations on the use of the data will be handled and reported to the decision makers. For example, what will be done if data quality indicators do not meet performance criteria? Also discuss how much of this information will be included in the final project report.

# List of References (if applicable)

For example:

- EPA documents or methods

- Standard operating procedures

- Journal articles or manuals that were used to discus the problem or procedure or method followed in the QAPP

Appendices

Appendix 1  Attach Site maps and Site photos

Attach map of watershed and sampling locations

Appendix 2

Attach:

- Chain of Custody Form

- Field sheets/forms

- Laboratory bench sheets

- Other documentation forms

Appendix 3  Attach Standard Operating Procedures

Examples:

- Sample collection procedure

- Sample documentation procedure

- Sample analysis procedure

- Instrument/equipment calibration, use, maintenance, cleaning and required quality control checks procedures